Phlebology, Proctology, Gynecology, ENT, Neurosurgery, Dermatology, Liposuction, Therapy

|  |  |  |
| --- | --- | --- |
|  | Phlebology | |
| 0 | EVLA Thigh | 1470nm, CW 8w 80J/cm |
| 1 | EVLA calf | 1470nm, CW 6w 60J/cm |
| 2 | EVLA Small Vessel | 1470nm, CW 3w 30J/cm |

|  |  |  |
| --- | --- | --- |
|  | Proctology | |
| 0 | Hemorrhoids Grade 2 | 1470nm, CW 7w, 250 Joules per hemorrhoid |
| 1 | Hemorrhoids Grade 3 | 1470nm, CW 8w, 350 Joules per hemorrhoid |
| 2 | Hemorrhoids Grade 4 | 1470nm, CW 8w, 350 Joules per hemorrhoid |
| 3 | Fistula | 1470nm, CW 12w 100J/cm |
| 4 | Pilonidal Sinus | 1470nm, CW 12w 100J/cm |
| 5 | Fissure Ablation | 1470nm, CW 7w 100J/cm |

|  |  |  |
| --- | --- | --- |
|  | Gynecology | |
| 0 | Laser Vaginal Tightening 1st Session 600 Joules  （Laser Vaginal Tightening 1st 600J） | 1470nm, Pulse 6w 500ms Ton, 500ms Toff |
| 1 | Laser Vaginal Tightening 2nd Session 600 Joules | 1470nm, Pulse 7w 500ms Ton, 500ms Toff |
| 2 | Laser Vaginal Tightening 3rd Session 600 Joules | 1470nm, Pulse 8w 500ms Ton, 500ms Toff |
| 3 | Laser Vaginal Tightening 4th Session 600 Joules | 1470nm, Pulse 8w 500ms Ton, 500ms Toff |
| 4 | Laser Vaginal Rejuvenation, 4 passes, total 360 Joules  （Laser Vaginal Tightening 360J） | 1470nm, CW 6w 15s Ton |
| 5 | Laser Vaginal Rejuvenation Plus,  4 passes, 600Joules | 1470nm, CW 10w 15s Ton |
| 6 | Stress Incontinence, 75 Joules | 1470nm, CW 5w 15s Ton |
| 7 | Infection control, 50 Joules | 1470nm, CW 5w 10s Ton |
| 8 | Treatment after Menopause, 4 passes, total 480 Joules | 1470nm, CW 8w 15s Ton |
| 9 | Hysteroscopy Myomas | 1470nm 12w CW |
| 10 | Hysteroscopy Polyps | 1470nm 8w CW |
| 11 | Hysteroscopy Septum | 1470nm 10w CW |
| 12 | Hysteroscopy Adhesion | 1470nm 10w CW |
| 13 | Hysteroscopy Dysmorphie Uterus | 1470nm 12w CW |
| 14 | Hysteroscopy Isthmocele | 1470nm 12w CW |
| 15 | Hysteroscopy T-Shape Uterus | 1470nm 12w CW |
| 16 | Laparoscopy Myomas | 1470nm 12w CW |
| 17 | Laparoscopy Ovarian Cysts | 1470nm 10w CW |
| 18 | Laparoscopy Adhesion | 1470nm 10w CW |
| 19 | Laparoscopy Salpingectomy | 1470nm 10w CW |
| 20 | Laparoscopy Cysts | 1470nm 10w CW |
| 21 | Laparoscopy Endometriosis | 1470nm 10w CW |

|  |  |  |
| --- | --- | --- |
|  | ENT | |
| 0 | Vocal Polyps | 980nm 13w CW |
| 1 | Cordectomy | 980nm 12w CW |
| 2 | Laryngeal Carcinoma | 980nm 14w CW |
| 3 | Haematomas | 980nm 14w CW |
| 4 | Fibromas | 980nm 14w CW |
| 5 | Larynxpapillomatosis | 980nm 14w CW |
| 6 | Paracentesis | 980nm 13w CW |
| 7 | Acoustic Neuroma | 980nm 13w CW |
| 8 | Cholesteatoma | 980nm 10w CW |
| 9 | Tonsillectomy | 980nm 13w CW |
| 10 | Tumour Vaporisation | 980nm 13w CW |
| 11 | Uvulopalatoplasty (LAUP) | 980nm 10w CW |
| 12 | Conchotomy | 980nm 13w CW |
| 13 | Dacryocystorhinostomy (DCR) | 980nm 10w Pulse, 50ms Ton, 90ms Toff |
| 14 | Turbinate Reduction | 980nm 10w CW |
| 15 | Nasal Polypectomy | 980nm 12w CW |

|  |  |  |
| --- | --- | --- |
|  | Neurosurgery | |
| 0 | PLDD L2-L3, L3-L4, L5-S1  Total 800-1500J | 1470nm, Pulse 7w 1s Ton, 5s Toff |
| 1 | PLDD L4-L5  Total 800-1800J | 1470nm, Pulse 7w 1s Ton, 5s Toff |
| 2 | PLDD 980nm | 980nm, 7.5w, Puse 700ms Ton, 700ms Toff |
| 3 | Tumour | 1470nm, Pulse 7w, 1s Ton, 5s Toff |
| 4 | Tumour | 980m, Pulse 8w 1s Ton, 5s Toff |

|  |  |  |
| --- | --- | --- |
|  | Dermatology | |
| 0 | Cut | 980nm, CW 10W |
| 1 | Coagulation | 980nm, CW 3w |
| 2 | Moles Removal | 980nm, CW 8w |
| 3 | Warts Removal | 980nm, CW 10w |
| 4 | Nail Fungus | 980nm, Pulse, 6w, 1s Ton, 1s Toff |
| 5 | Venectasia | 980nm, Pulse, 15w, Ton 70ms, Toff 120ms |
| 6 | Spider Vein 0.5mm | 980nm, Pulse, 8w, 1s Ton, 5s Toff |
| 7 | Spider Vein 1mm | 980nm, Pulse, 8w, 1s Ton, 5s Toff |
| 8 | Spider Vein 1.5mm | 980nm, Pulse, 8w, 1s Ton, 5s Toff |

|  |  |  |
| --- | --- | --- |
|  | Liposuction | |
| 0 | Liposuction Under Eye | 1470nm, 3w CW |
| 1 | Liposuction Chin | 1470nm 6w CW |
| 2 | Liposuction Arm | 1470nm 8w CW |
| 3 | Liposuction Abdomen | 1470nm 12 CW |
| 4 | Liposuction Buttock | 1470nm 10w CW |
| 5 | Liposuction Thigh | 1470nm 8w CW |
| 6 | Gynecomastia | 1470nm 8w CW |

|  |  |  |
| --- | --- | --- |
|  | Therapy | |
| 0 | Orthopedic Pain | 980nm 8w pulse, 50ms on, 50ms off |
| 1 | Spine Pain | 980nm 8w pulse 50ms on, 50ms off |
| 2 | Frozen Shoulder | 980nm 10w pulse 50ms on, 50ms off |
| 3 | Plantar Facities | 980nm 6w pulse 50ms on, 50ms off |
| 4 | Pain Management | 980nm 6w pulse 50ms on, 50ms off |
| 5 | Wound Healing | 635nm CW |
| 6 | Low Laser Therapy | 635nm CW |
| 7 | Biostimulation | 635nm CW |

DENTISTRY

|  |  |  |  |
| --- | --- | --- | --- |
| **Sr** | **Procudure Name** | **Mode** | **Power** |
| 1 | Incision & Drainage Of Abscess | CW | 1.2 |
| 2 | Excision & Incisional Biopsy | CW | 1 |
| 3 | Aphthous Ulcer,Canker Sores & herpetic | PULSE | 2 |
| 4 | Pulpotomy as an adjunct root canal theraphy | CW | 1.5 |
| 5 | Expose of unerupted teeth | CW | 1 |
| 6 | Fibroma Removal | CW | 1 |
| 7 | Frenectomy | CW | 1 |
| 8 | Gingivectomy | CW | 1 |
| 9 | Gingivoplasty | CW | 1 |
| 10 | Gingival incision & excision Hemostasis | CW | 1 |
| 11 | Crown Lenthening | PULSE | 1.8 |
| 12 | Reduction of Gingival Hypertrophy | CW | 1.5 |
| 13 | Implant Recovery | CW | 1 |
| 14 | Hemostasis and Coagulation | CW | 1.2 |
| 15 | Gingival Troughing | CW | 1.8 |
| 16 | Operculectomy | CW | 1.5 |
| 17 | Removal of highly inflamed edemotous tissue-infected pockets | CW | 1.8 |
| 18 | Gingival Bleeding Index | CW | 0.8 |
| 19 | Sulcular Debridement | CW | 0.8 |
| 20 | Leukoplakia | CW | 1 |
| 21 | Vestibuloplasty | CW | 1 |
| 22 | Oral Papilectomies | CW | 0.9 |
| 23 | Tooth Whitening | PULSE | 5 |