Phlebology, Proctology, Gynecology, ENT, Neurosurgery, Dermatology, Liposuction, Therapy

|  |  |
| --- | --- |
| Phlebology | |
| EVLA Thigh | 1470nm, CW 8w 80J/cm |
| EVLA calf | 1470nm, CW 6w 60J/cm |
| EVLA Small Vessel | 1470nm, CW 3w 30J/cm |

|  |  |
| --- | --- |
| Proctology | |
| Hemorrhoids Grade 2 | 1470nm, CW 7w, 250 Joules per hemorrhoid |
| Hemorrhoids Grade 3 | 1470nm, CW 8w, 350 Joules per hemorrhoid |
| Hemorrhoids Grade 4 | 1470nm, CW 8w, 350 Joules per hemorrhoid |
| Fistula | 1470nm, CW 12w 100J/cm |
| Pilonidal Sinus | 1470nm, CW 12w 100J/cm |
| Fissure Ablation | 1470nm, CW 7w 100J/cm |

|  |  |
| --- | --- |
| Gynecology | |
| Laser Vaginal Tightening 1st Session 600 Joules  （Laser Vaginal Tightening 1st 600J） | 1470nm, Pulse 6w 500ms Ton, 500ms Toff |
| Laser Vaginal Tightening 2nd Session 600 Joules | 1470nm, Pulse 7w 500ms Ton, 500ms Toff |
| Laser Vaginal Tightening 3rd Session 600 Joules | 1470nm, Pulse 8w 500ms Ton, 500ms Toff |
| Laser Vaginal Tightening 4th Session 600 Joules | 1470nm, Pulse 8w 500ms Ton, 500ms Toff |
| Laser Vaginal Rejuvenation, 4 passes, total 360 Joules  （Laser Vaginal Tightening 360J） | 1470nm, CW 6w 15s Ton |
| Laser Vaginal Rejuvenation Plus,  4 passes, 600Joules | 1470nm, CW 10w 15s Ton |
| Stress Incontinence, 75 Joules | 1470nm, CW 5w 15s Ton |
| Infection control, 50 Joules | 1470nm, CW 5w 10s Ton |
| Treatment after Menopause, 4 passes, total 480 Joules | 1470nm, CW 8w 15s Ton |
| Hysteroscopy Myomas | 1470nm 12w CW |
| Hysteroscopy Polyps | 1470nm 8w CW |
| Hysteroscopy Septum | 1470nm 10w CW |
| Hysteroscopy Adhesion | 1470nm 10w CW |
| Hysteroscopy Dysmorphie Uterus 改为Hysteroscopy Dysmorphic Uterus | 1470nm 12w CW |
| Hysteroscopy Isthmocele | 1470nm 12w CW |
| Hysteroscopy T-Shape Uterus | 1470nm 12w CW |
| Laparoscopy Myomas | 1470nm 12w CW |
| Laparoscopy Ovarian Cysts | 1470nm 10w CW |
| Laparoscopy Adhesion | 1470nm 10w CW |
| Laparoscopy Salpingectomy | 1470nm 10w CW |
| Laparoscopy Cysts | 1470nm 10w CW |
| Laparoscopy Endometriosis | 1470nm 10w CW |

|  |  |
| --- | --- |
| ENT | |
| Vocal Polyps | 980nm 13w CW |
| Cordectomy | 980nm 12w CW |
| Laryngeal Carcinoma | 980nm 14w CW |
| Haematomas | 980nm 14w CW |
| Fibromas | 980nm 14w CW |
| Larynxpapillomatosis | 980nm 14w CW |
| Paracentesis | 980nm 13w CW |
| Acoustic Neuroma | 980nm 13w CW |
| Cholesteatoma | 980nm 10w CW |
| Tonsillectomy | 980nm 13w CW |
| Tumour Vaporisation | 980nm 13w CW |
| Uvulopalatoplasty (LAUP) | 980nm 10w CW |
| Conchotomy | 980nm 13w CW |
| Dacryocystorhinostomy (DCR) | 980nm 10w Pulse, 50ms Ton, 90ms Toff |
| Turbinate Reduction | 980nm 10w CW |
| Nasal Polypectomy | 980nm 12w CW |

|  |  |
| --- | --- |
| Neurosurgery | |
| PLDD L2-L3, L3-L4, L5-S1  Total 800-1500J | 1470nm, Pulse 7w 1s Ton, 5s Toff |
| PLDD L4-L5  Total 800-1800J | 1470nm, Pulse 7w 1s Ton, 5s Toff |
| PLDD 980nm | 980nm, 7.5w, Puse 700ms Ton, 700ms Toff |
| Tumour | 1470nm, Pulse 7w, 1s Ton, 5s Toff |
| Tumour | 980m, Pulse 8w 1s Ton, 5s Toff |

|  |  |
| --- | --- |
| Dermatology | |
| Cut | 980nm, CW 10W |
| Coagulation | 980nm, CW 3w |
| Moles Removal | 980nm, CW 8w |
| Warts Removal | 980nm, CW 10w |
| Nail Fungus | 980nm, Pulse, 6w, 1s Ton, 1s Toff |
| Venectasia | 980nm, Pulse, 15w, Ton 70ms, Toff 120ms |
| Spider Vein 0.5mm | 980nm, Pulse, 8w, 1s Ton, 5s Toff |
| Spider Vein 1mm | 980nm, Pulse, 8w, 1s Ton, 5s Toff |
| Spider Vein 1.5mm | 980nm, Pulse, 8w, 1s Ton, 5s Toff |

|  |  |
| --- | --- |
| Liposuction | |
| Liposuction Under Eye | 1470nm, 3w CW |
| Liposuction Chin | 1470nm 6w CW |
| Liposuction Arm | 1470nm 8w CW |
| Liposuction Abdomen | 1470nm 12 CW |
| Liposuction Buttock | 1470nm 10w CW |
| Liposuction Thigh | 1470nm 8w CW |
| Gynecomastia | 1470nm 8w CW |

|  |  |
| --- | --- |
| Therapy | |
| Orthopedie Pain 改为Orthopedic Pain | 980nm 8w pulse, 50ms on, 50ms off |
| Spine Pain | 980nm 8w pulse 50ms on, 50ms off |
| Frozen Shoulder | 980nm 10w pulse 50ms on, 50ms off |
| Plantar Facilities 改为Fasciitis | 980nm 6w pulse 50ms on, 50ms off |
| Pain Management | 980nm 6w pulse 50ms on, 50ms off |
| Would Healing改为Wound Healing | 635nm CW 500mw |
| Low Laser Therapy | 635nm CW 500mw |
| Biostimulation | 635nm CW 500mw |

DENTISTRY

|  |  |  |  |
| --- | --- | --- | --- |
| **Sr** | **Procudure Name** | **Mode** | **Power** |
| 1 | Incision & Drainage Of Abscess | CW | 1.2 |
| 2 | Excision & Incisional Biopsy | CW | 1 |
| 3 | Aphthous Ulcer, Canker Sores & herpetic | PULSE | 2 |
| 4 | Pulpotomy as an adjunct root canal theraphy（ Therapy） | CW | 1.5 |
| 5 | Expose of unerupted teeth | CW | 1 |
| 6 | Fibroma Removal | CW | 1 |
| 7 | Frenectomy | CW | 1 |
| 8 | Gingivectomy | CW | 1 |
| 9 | Gingivoplasty | CW | 1 |
| 10 | Gingival incision & excision Hemostasis | CW | 1 |
| 11 | Crown Lenthening 改为 Crown [Lengthening](https://www.google.com/search?q=Crown+Lengthening&spell=1&sa=X&ved=2ahUKEwi275bQgbn_AhXsJkQIHfl9CRMQkeECKAB6BAhAEAE) | PULSE | 1.8 |
| 12 | Reduction of Gingival Hypertrophy | CW | 1.5 |
| 13 | Implant Recovery | CW | 1 |
| 14 | Hemostasis and Coagulation | CW | 1.2 |
| 15 | Gingival Troughing | CW | 1.8 |
| 16 | Operculectomy | CW | 1.5 |
| 17 | Removal of highly inflamed edemotous（ [edematous](https://www.google.com/search?q=inflamed+edematous+tissue&spell=1&sa=X&ved=2ahUKEwjs5PmWgrn_AhVzIkQIHQCIB54QkeECKAB6BAg3EAE)） tissue-infected pockets | CW | 1.8 |
| 18 | Gingival Bleeding Index | CW | 0.8 |
| 19 | Sulcular Debridement | CW | 0.8 |
| 20 | Leukoplakia | CW | 1 |
| 21 | Vestibuloplasty | CW | 1 |
| 22 | Oral Papilectomies | CW | 0.9 |
| 23 | Tooth Whitening | PULSE | 5 |